[Insert Project Name, NFWF ID No., Grant Type. Complete Information in Document Header.]

QUALITY ASSURANCE PROJECT PLAN

COMPLETED PLAN PREPARED BY:

[Insert name here]

[Date]

Refer correspondence to:

[Name, organization, address, telephone, and email]

(Note to All Grantees: Instructions in this QAPP Template are given in bold, highlighted type. Make sure to complete or revise all sections and remove any underlining. Also, ERASE the instructions, including this one, as you complete the QAPP for your specific project. Make sure to define acronyms/abbreviations when they initially appear in the text (i.e., mg/L, NTU, etc.). Make changes in other places, as necessary. If a section is not applicable to your project, keep the header, delete the template text, and include an explanation regarding why the section is not applicable. Template instructions should be addressed in narrative form, not Q&A.)

Please read the entirety of this document. Do not fill in information without reading the whole document. It is necessary to fully understand the contents of this Quality Assurance Project Plan (QAPP) to complete the required components successfully. Every QAPP will be unique and responsive to the proposal approved by NFWF. Please note that the QAPP is to be a stand-alone document.

qapp Approvals PAGE

Approval Signatures (required prior to project start):

____________________________________   Date:  ___________________

[Insert Name]

Project Manager, [Insert Organization]

[Insert Organization Title]

____________________________________   Date:  ___________________

[Insert Name]

[Insert Project Role and Organization. Delete if not applicable. Copy and add additional signatories as appropriate. Delete extra spacing so that they fit on this single page. This expedites the signatory process.]

[Insert Organization Title]

____________________________________   Date:  ____________________

Manager, Chesapeake Bay Programs
National Fish & Wildlife Foundation
1625 Eye Street NW, Suite 300

Washington, DC 20006 
Direct: (202) 857-0166

Website: www.nfwf.org/chesapeake

____________________________________   Date:  ____________________

EPA Region 3 Delegated Approving Official

U.S. Environmental Protection Agency

(WHEN DOCUMENT IS COMPLETE _ RIGHT CLICK ON Table of Contents and ‘UPDATE FIELD” then “UPDATE ENTIRE TABLE”)

1	PROJECT MANAGEMENT	5

1.1	Contact Information	5

1.2	Project Objectives and Approach	6

1.3	Data Quality Objectives and Quality Assurance Objective Criteria	8

1.4	Documentation and Records	10

2	DATA ACQUISITION	11

2.1	Sampling Information	11

2.2	Sample Handling Procedures	13

3	ANALYTICAL REQUIREMENTS	15

3.1	Chemistry Analyses	15

3.2	Laboratory Standards and Reagents	15

3.3	Sample Preparation Methods	15

4	QUALITY CONTROL REQUIREMENTS	16

4.1	Measurement Performance Criteria	16

4.2	Internal Quality Control	18

4.3	Field Quality Control	18

4.4	Laboratory Quality Control	19

5	INSTRUMENTATION AND EQUIPMENT PREVENTIVE MAINTENANCE	20

5.1	Sample Equipment Cleaning Procedures	20

5.2	Analytical Instrument and Equipment Testing Procedures and Corrective Actions	20

5.3	Instrument Calibrations and Frequency	20

6	DATA MANAGEMENT	21

6.1	Data Assessment Procedures	22

6.2	Data to be Included in QA Summary Reports	22

6.3	Reporting Format	23

7	DATA VALIDATION AND USABILITY	23

7.1	Laboratory Data Review, Verification, and Reporting	23

7.2	Self-Assessment, Data System Audits	23

8	REFERENCES	24

9	APPENDICES	25

[Verify numbering here and against text at completion of QAPP]

# PROJECT MANAGEMENT

## Contact Information

[Please provide the name, organization affiliation, email, and phone number of project personnel. Only include project partners if they are involved in project activities discussed in the QAPP.]

All personnel listed below in Table 1 will receive copies of this Quality Assurance Project Plan (QAPP), and any additional approved versions of this plan (i.e., addendum). Once approved, this QAPP will be available to any interested party by requesting a copy from the project manager.

Table 1: Project Team Contact Information

| Title | Name (Affiliation) | Phone Number/E-mail |
| --- | --- | --- |
| Project Manager |  |  |
| Primary Field Sampler |  |  |
| Laboratory Manager |  |  |
| Laboratory Quality Assurance/Quality Control (QA/QC) Officer |  |  |
| Environmental Scientist |  |  |
| National Fish and Wildlife Foundation (NFWF) Program Manager |  |  |
| QA Officer [This person should not be involved in data collection. If title does not apply to anyone on the Project Team then add “/ QA Officer” after the Project Manager Title and delete this row.] |  |  |

[Describe the roles and responsibilities of project team members involved in data collection and/or quality assurance, including contractors or volunteers as appropriate. Project team members would actively work on one or more phases of your project, including data quality review. If volunteers or students are part of the project team, summarize their role and reference to later sections of the QAPP that discuss training details (i.e., Section 1.4, 2.0). Include the names, duties, and responsibilities of all parties and/or groups involved in the key aspects of your project. If names are unknown, specify general title, affiliation, and briefly describe project role. Clarify the intended data user(s) for each data collection activity as applicable.]

[EXAMPLE ONLY – EDIT AS APPLICABLE TO YOUR PROJECT]

PROJECT MANAGER (Name) has overall responsibility for ensuring that the project meets the project objectives and quality standards. The Project Manager will be responsible for overseeing all activities conducted on this project including schedule adherence, budgeting, and oversight of all scope-related activities. Scope-related activities include assigning project tasks to personnel, data collection, data analysis, interpretation, communication, and final reporting. The Project Manager will also coordinate all program/project needs related to project personnel and convene periodic project-planning meetings. [If the Project Manager is also the QA Officer, please explain their QA role on the project.]

[Add descriptions of all project team members involved in decision-making and/or data collection. Do not include NFWF, EPA or Stantec.]

Laboratory Information

[Add information for all labs included on the project. If you will utilize more than one laboratory, please complete as separate tables. If the lab does not have a lab certification, please fill in those fields of the table with N/A and address the reason for this (i.e., no certification available, certification is not required, etc.). If the lab is only certified for some of your parameters, please complete the table and add a comment as to which tests/parameters are covered, and which are not (explain the reason). If unsure, add a comment and Stantec can help you address during document review.]

[If you have a certification to add, make sure to specify the certifying organization (i.e., NELAP, State, etc.) and append that document or link to it if that is available.  Certification should not expire prior to completion of data collection and address the tests/matrices for your project.]

| Name |  |
| --- | --- |
| Address |  |
| Phone | Contact Name |
| Organization/Laboratory Certification No. | Expiration Date |

## Project Objectives and Approach

[Insert your condensed proposal narrative here. Please review your proposal narrative and modify according to the current project specific objective (including removal of proposal language or any new information not stated at the time of the proposal).]

Please address the following information in this section:

- Clearly state or list the objectives of your project and what the project is intended to accomplish.

- Provide a concise overview of the methods/surveys/data collection activities that will be implemented to achieve these objectives. Please note that Section 1.2 is an overview of the project. More specific details will follow in each of the sections. You may reference to those sections as needed.

- Describe the geographic scope for your project. Add a map of the project area as an Appendix (typically Appendix A) and reference in this section.

- Provide background to support the project objectives. This could include previous work/grants, team experience, and context for your project/reason why the study is taking place.

- If relevant, briefly discuss whether the project must comply with agency legislation, permits, comprehensive management plans, and/or organizational goals.

- Discuss actions under different grants or regional programs that may have provided supporting framework or strategy for your project objectives, should that be applicable.

The objective of this document is to identify the quality assurance components that are necessary to implement the project activities under the [Insert project name]. This objective will be achieved by using the following accepted methodology to collect and/or measure, analyze and/or interpret [Insert measurement type (e.g., water and biota)] samples. [Briefly summarize methodology, survey type, or any other data collection activities associated with the project – make sure to attach documents to QAPP and reference as appendix or provide details on how the reader can access the information as needed. If the information is accessed on a website, include the website as an active hyperlink. Details should be discussed in later sections of the QAPP.]

[Briefly list/discuss the sites to be sampled as part of this project. Explain the process for site selection here or in Section 1.3 if certain decision criteria were or will be applied to select sites for sampling. If sites are not selected yet, discuss the criteria you will use to choose sampling sites and why.]

[Clarify whether volunteers, students, or other individuals that require training and would be involved in data collection activities. Describe training for these individuals, as applicable, including methodology (add references or hyperlinks if available), timing, and person with primary responsibility for training.]

The overall project timeline is [Insert dates]. Required monitoring or measurements will begin [Insert dates data or measurements will be taken, start/stop dates for this activity, etc. If timeline is not determined yet, discuss the potential timeline or that it will be determined later. Data collection associated with this QAPP cannot be in the past and cannot occur until the QAPP is approved. Be sure to clarify how each data collection activity will inform subsequent activities occurring on the project.]

Table 2 lists the constituents that are required to be monitored.

[Make sure that you identify your measurement units. If you have more than one matrix type, add a column for matrix and identify each unit type.]

[EXAMPLE ONLY – EDIT AS NEEDED TO REFLECT YOUR PROJECT]

Table 2: Constituents to be Measured

| Constituent | Unit |
| --- | --- |
| Flow | CFS (Ft3/Sec) |
| PH | pH units |
| Temperature | 0F |
| Dissolved Oxygen | mg/L |
| Turbidity | NTU |
| Total Dissolved Solids | mg/L |
| Total Suspended Solids | mg/L |
| Nitrate-Nitrogen | mg/L |
| Phosphate | mg/L |
| Sulfate | mg/L |

## Data Quality Objectives and Quality Assurance Objective Criteria

[READ THROUGH HIGHLIGHTED INSTRUCTIONS BEFORE COMPLETING]

[Following the project objectives identified in Section 1.2, the Data Quality Objectives section further clarifies what data are needed to meet those objectives and explains the acceptable data quality and quantity required for decision making on the project. Please read through all directives and guidance provided for this section to understand the section goals. Procedural information (the ‘how to’) should be in Section 2; you may add references to that section here as needed to further provide context and direct the reader to where key information that supports this section can be found.]

### Data Quality Objectives

Data quality objectives (DQOs) will define your data collection design, including:

1) when and where to collect samples (if identified in Section 1.2, state here and reference Section 1.2),

2) the acceptable level of data uncertainty and decision errors for the study (what are those metrics that identify that the data are appropriate for the project),

3) how many samples to collect (what does the conceptual site model/sampling plan look like) and why this sampling/study design was chosen to meet project objectives,

4) why the data type you are collecting is appropriate to meet your project objectives, and

5) who is making these decisions, how, and when were they made.

Consider the following when completing this section:

- How is the quality of your data collection being ensured? Examples may include:

  - an explanation of the experience of the project team (or reference Section 1.1 for this information),

  - explanation of proper training and oversight of data collectors,

  - adherence to accepted methods and protocols to achieve project objectives, including citations for methods and protocols, and/or

  - using lessons learned from successful past projects that were like this project design, providing a summary of past projects.

- How were sites selected for this project? (May be discussed in Section 1.2 and referenced to here or vice versa – but MUST be discussed in one of the sections and referenced to in the other)

  - Why are the sites selected for sampling appropriate to achieve the project objectives?

  - What were the decision criteria to select sites for sampling (if discussed in Section 1.2, reference to that here or vice versa – but MUST be discussed in one of the sections and referenced to in the other)? Who made these decisions and when?

  - If sample locations have not been selected, please explain the criteria/data required for their selection and who on the project team will determine these locations, and when.

- If the data are not collected as planned, how will that affect the project/project objectives?

- If you will be using formulas, calculations, and/or statistical analysis, discuss how these will be used and evaluated.

- Make sure to identify units in this section to clarify requirements. Similarly, make sure to define terms for clarify as appropriate. Footnotes are fine unless more discussion is needed. Footnotes on tables to clarify acronyms or other key identifiers are encouraged.

### Quality Assurance Objectives

Quality Assurance Objectives (QAOs) define a tolerable level of potential decision error for data collected on a project. They help to further clarify the DQOs and the project objectives, providing key metrics that should be met for usability of data on the project. The QAOs are then used as comparison criteria during data quality review by [explain the group that is responsible for collecting data] to determine if the minimum requirements have been met and the data may be used as planned.

Questions to address when completing this section:

- How will the project team know data collected in the field are appropriate for use on the project and will address data quality and project objectives? You will want to make sure that information identified in this section is consistent with discussions later in the document (i.e., Sections 4.0 and 6.0).

- Identify key indicators of data quality associated with your data: Precision, Accuracy/bias, Representativeness (may be identified in section 1.2; reference to it here), Comparability, and Completeness. NOTE: Not all data will have every indicator represented; this should be specific and relative to your project. You should consider how each of these is important to understanding your data quality further.

- Definitions of quality indicators for your dataset:

  - Precision: Precision is an expression of agreement between two measurements. It provides a measure of reproducibility of sample results/measurements.

  - Accuracy: Accuracy is used to identify the agreement between an observed value and a reference or true value.

  - Representativeness: Refers to how well the data collected are representing the area of interest. This may be a discussion of why sampling points were chosen as a representation for your study.

  - Comparability: Typically a qualitative discussion on how data being collected will be comparable to other datasets.

  - Completeness: Completeness is a project/study level metric. It identifies the measure of the amount of valid data collected as compared to the amount of data planned.

  - Sensitivity: Sensitivity identifies the capability of a method or an instrument to detect a given analyte at that concentration.

- Typical ways that these indicators may be presented in lab data:

  - Precision: Precision is typically measured through Duplicates/Replicates, Matrix Spike Duplicate, Laboratory Control Spike Duplicate (as represented by RPD, RSD, %D).

  - Accuracy/bias: Matrix Spike, Laboratory Control Sample, Performance Evaluation Samples, Standards Checks, Calibration Verification (commonly represented by % recovery range). Bias is also identified with blank contamination; in this case identify the criteria surrounding the blank acceptance (e.g., ≤RL).

  - Comparability: The use of standard or similar techniques for sample collection or analysis. For secondary data this may be identification of data quality aspects that allows for comparison.

  - Completeness: Completeness is typically seen as a number below 100% (although certain circumstances or regulatory requirements could dictate that 100% is needed) to account for unplanned events or data issues and should represent the amount of valid data acceptable to the project/study for a usable dataset.

  - Sensitivity: Typically, sensitivity is related to the detection limits that are being met by a particular method or instrument. Your lab should be able to provide this information.

The quality assurance objectives are listed in Table 3a and 3b. [Add more discussion as applicable to explain the source for the QAOs outlined in Table 3a and 3b. NOTE: Comparability and Representativeness are not listed in these tables – make sure these indicators are addressed in the text. Detection and reporting limits should be added to the QAPP as applicable for your project. If detection and reporting limits are extensive, they should be added as an appendix and referenced here. For completeness, please provide an explanation regarding the acceptable percentage for your project.]

Table 3a: QAOs for Field-Related Measurements [EXAMPLE ONLY – EDIT AS NEEDED TO REFLECT YOUR PROJECT]

| Parameter | Method | Sensitivity | Precision | Accuracy | Completeness |
| --- | --- | --- | --- | --- | --- |
| Dissolved Oxygen | YSI Field Meter | .5 mg/L | Field Duplicates: 10%RPD | Adherence to sampling protocols mfg. instructions | 90% |

Table 3b: QAOs for Laboratory-Related Measurements [EXAMPLE ONLY – EDIT AS NEEDED TO REFLECT YOUR PROJECT]

| Parameter | Method | Sensitivity | Precision | Accuracy | Completeness |
| --- | --- | --- | --- | --- | --- |
| Nitrate | EPA Method 353.3 | .5 mg/L | 10% RPD | 90-110% recovery | 90% |

[All columns may not apply to all parameters. The term “N/A” may be added for certain parameters; however, reasoning for use of the term “N/A” must be clarified with an explanation after Tables 3a and 3b. Accuracy and completeness should apply to all parameters. When completing tables, make sure to identify all acronyms in a footnote and make sure that values in the table are clearly identified as to what they represent (for example, 10% RPD for field duplicates). This can be identified in the cell of the table (see dissolved oxygen) or footnoted at the bottom of the table (see Nitrate). If you have both field measurements and lab related methods, make sure that these are separate tables, and the titles of the tables define this. If it is clearer to the reader to include an individual table per analysis, please create additional tables.]

## Documentation and Records

Include the following in this section:

- Description of Staff/Volunteer/Intern/Student Training documentation and records as applicable or clarify why these are not required.

- Explain how data and information will be transferred between organizations and project partners, including advisory groups and contractors (e.g., secure file share).

- Describe or list permits or reports to be prepared as part of this project, including information to media outlets, social media, and/or government agencies, and how reports or media would be distributed. If no reports or media will be developed as part of this project, then clarify here.

- Clearly state whether data or project results will be made available to the public.

All records generated by this project will be stored at [Insert location name here]. Records stored for this project will include all laboratory records pertinent to this project. Copies of records held by the laboratory will be provided to project manager and maintained in the project file.

Copies of this QAPP will be distributed to all parties involved with the project, including signatories and field sampling and laboratory personnel. Any future changes or amendments to the QAPP will be held and distributed in the same fashion. Copies of previous versions of the QAPP will be clearly marked as “superseded by Revision #” so as not to create confusion.

The records of all project information and data used to complete the activities of the project will be retained for at least seven years from the date of sampling, measurement, report, or application.

# DATA ACQUISITION

[Edit as applicable to your project. Describe data collection staff and staff training if not described in Section 1.]

## Sampling Information

Information on the project geographic scope can be found in Appendix A. [Please note if sample locations are identified in Appendix A or elsewhere in the QAPP.] Methods for sample collection in the field will be done according to [describe methods/procedures for each sampling type or refer to discussion in Section 1.2]. The project team will ensure that a representative sample is collected by adhering to [discuss or reference sampling techniques, protocols, and methods].

Expand on this discussion and address the following, or clarify that these actions are not applicable to this project:

- Discuss any preparation required by the sampling team before the data collection event, including weather checks, equipment preparation, site determination, mapping, and/or team meetings. If weather checks are required, please include source with active hyperlink. Clarify which team member is responsible for preparation activities.

- Clarify which team members will participate in sampling events and who provides sampling equipment to team members.

- Explain how site locations are selected for each sampling event, when the sites are selected, and who on the project makes this decision (reference previous QAPP section if already discussed).

- Discuss your methods for any non-laboratory related data in this section, including observations and/or assessment methods.

Field Measurements and Observational Data

This section should discuss any field measurements that you will be taking in the field to support your sampling. For example:

r quality parameters including [Insert project-specific information, such as weather, GPS, flow rate, pH, dissolved oxygen, and temperature] will be measured prior to collecting samples for laboratory analyses. [Describe measurements to be collected in the field, or reference discussion in another section. If visual or photo documentation will occur on your project, note procedure for taking photos or recording visual observations here (e.g., 1 north facing photo will be taken per site visit). If you will be collecting geospatial points, then please note in this section and in Table 2a and discuss protocols for collecting location information if applicable.]

QC SAMPLE COLLECTION

[This section should discuss any field QC sample collection that is taking place – this can include field blanks, equipment blanks, field duplicates, matrix spikes, or other key QC samples that are being collected to address quality of your data collection procedures. Please address the type of QC sample being collected, the frequency of collection (1:20 samples, 10%, etc.) and any particular situations that support this collection (e.g., “Samples need to be collected in duplicate. This will be done by…. Duplicate samples will be added to the COC as blind entries and should meet the criteria identified in section 4.0.”).]

[Complete this section to be specific to your project. If you are not collecting QC Samples then note this section is not applicable, explain why, and remove references to QC samples in the boilerplate text in other sections. Alternatively, only discuss types of QC samples being collected. Identify the type of QC sample, frequency of collection, and reference to either Table 3 or Section 4.0 and discuss QC acceptance criteria.]

FIELD INSTRUMENT CALIBRATION

[Provide references to manufacturer calibration instructions. Explain what instruments will be used on this project, or reference discussion elsewhere in the QAPP (e.g., Section 5.0), and attach or provide a reference for the manufacturer’s instructions. Note who on the project team will perform calibration at what frequency, and whether a calibration log or records will be kept.]

DECONTAMINATION PROCEDURES

[Describe decontamination area location, how decontamination would occur, and who would determine the placement for this site. If decontamination procedures are not required (i.e., all equipment is one time use/not used for additional samples or project does not require formal decontamination procedures) then clarify here and briefly state cleaning procedures as applicable.]

FIELD DOCUMENTATION PROCEDURES

All field activities will be adequately and consistently documented to ensure defensibility of any data used for decision-making and to support data interpretation. [Explain how the project team is ensuring adequate and consistent documentation. Reference other sections as appropriate. Be sure decision-making processes are explained in Sections 1.2 and 1.3 and reference any QA discussion (Section 4.0) or data management procedures (Section 6.0) for this documentation.]

Pertinent field information, including the [Insert field project-specific sampling/measurement parameters, such as width, depth, flow rate of the stream, the surface water condition, crop and cultivation practices, sediment management, and location of the tributaries] will be recorded on the field data sheets. [Provide field data sheets as an appendix and reference here. Explain whether data will be recorded electronically and on what device, or in hard copy (e.g., data sheets or a logbook), and who would do this. Note how datasheets and photos would be labeled for file storage.]

The [Insert Project team member title from Section 1.1] will be responsible for ensuring that the field team adheres to proper documentation procedures. Field datasheets will be maintained for all data and information collected during each site visit. [Elaborate on this process as appropriate. Describe how and when data are transferred to an office, post-fieldwork, and who will do this.]

## Sample Handling Procedures

[Revise and expand on this section as applicable to your project and sampling process.]

Sample containers will be [pre-cleaned/new] and certified to be free of contamination according to the [Insert specification] specification for the appropriate methods.

[Discuss how sampling devices and sample bottles/containers will be rinsed as applicable prior to sampling. Also discuss post-sampling sample storage, including whether refrigeration or freezing is required.]

The following table describes sample container type/size, sample matrix (water, soil, etc.), sample volume needs, and maximum holding time and preservatives required for the collection of the parameter.

[EXAMPLE ONLY – EDIT AS NEEDED TO REFLECT YOUR PROJECT]

Table 4: Sampling Collection and Container Requirements

| Parameter | Sample Matrix | Sample Container/Container size | Sample Volume | Maximum Holding Times and Conditions |
| --- | --- | --- | --- | --- |
| Dissolved oxygen | Add sample matrix (i.e., Water) | Glass bottle and device to enable sampling without contact with air | 150 mL | Immediately / for wet chemistry fix per protocol instructions, continue analysis within 8 hr. |
| pH |  | Plastic Bottle or sample directly | 150 mL | Immediately |
| Turbidity |  | Plastic Bottle | 150 mL | Immediately / store in dark for up to 24 hr. |
| Total Dissolved Solids |  | Plastic Bottle | 1000 mL | 7 days at 4°C, dark |
| Total Suspended Solids |  | Plastic Bottle | 1000 mL | 7 days at 4°C, dark |
| Nitrate |  | Plastic Bottle | 150 mL | 48 hours at 4°C, dark |
| Phosphate |  | Plastic Bottle | 150 mL | 8 hours at 4°C, dark |

SAMPLE IDENTIFICATION

All samples will be identified with a unique number and samples labeled with the following information.

- Sample ID

- Location ID

- Date

- Time

- Initials of sample collector

- Sample type (normal or QC) [NOTE: If you are not collecting QC samples, remove reference to QC here and in sections below]

- Preservative method (if any)

SAMPLE CUSTODY PROCEDURES

Sample Custody will be traceable from the time of sample collection until results are reported. The primary field sampler [Make sure this title is the same as identified in Table 1] will be responsible for ensuring that the field sampling team adheres to proper custody and documentation procedures. Field datasheets will be maintained for all samples collected during each sampling event.

CHAIN-OF-CUSTODY FORM

[The COC provides documentation of sample custody and transport and provides a mechanism for documenting appropriate sample handling and analysis needs. Chain of custody procedures require that possession of samples by traceable from the time the samples are collected until completion and submittal of analytical results. Therefore, a COC should accompany any transfer of samples. Signatures of relinquish and receipt should be completed, and any errors should be crossed out and initialed. Laboratories should also follow their own internal custody procedures; these should be identified in that section. An example COC document should be appended to your QAPP and referenced to here.]

[Example text – modify as applicable for your project] When samples are transferred from one sampler to another member of the same organization or from the monitoring group to an outside professional laboratory, then a Chain of Custody (COC) form will be used. This form identifies key information about the sample collection and who collected the samples. When a sample leaves the custody of the sampling team, the COC form used will be the one provided by the outside professional laboratory. Similarly, when QC checks are performed by a professional lab, their samples will be processed under their COC procedures with their labels and documentation procedures. Chain of Custody forms will have both a relinquish and receipt signature completed. Any errors on the COC will be addressed by crossing out the error and initialing the cross out.

SAMPLE SHIPMENTS AND HANDLING

[Please note the timeframe for shipments of samples to the lab and which team member is responsible for this. If samples need to be shipped, identify the shipping procedures and the address for delivery (i.e., lab).]

All sample shipments are accompanied by the COC form, which identifies the samples contained within the shipment. The original COC form will accompany the shipment, and a copy is retained in the project file, or as an electronic file.

[Example text – modify as applicable for your project] All shipping containers will be secured for transportation to the laboratory. The samples will be placed with ice to maintain the temperature between 2-4 degrees C. The ice packed with samples will be sealed in zip lock bags, will contact each sample, and be approximately 2 inches deep at the top and bottom of the cooler. Samples will be shipped to the contract laboratories according to U.S. Department of Transportation (US DOT) standard.

LABORATORY CUSTODY PROCEDURES

[Check with your laboratory to ensure the bullets below are accurate for their custody process. Adjust bullets as appropriate.]

The following sample control activities will be conducted at the laboratory:

- Initial sample login and verification of samples received with the COC form.

- Document any discrepancies noted during login on the COC.

- Initiate internal laboratory custody procedure.

- Verify sample preservation (e.g., temperature).

- Notify the project manager if any problems or discrepancies are identified.

- Proper samples storage, including daily refrigerator temperature monitoring and sample security.

# ANALYTICAL REQUIREMENTS

[This section should discuss project testing that will occur. Either add a summary description of those procedures or reference to appended laboratory SOPs.]

## Chemistry Analyses

[Example text – modify as applicable for your project] Prior to the analysis of any environmental samples, the laboratory must demonstrate the ability to meet the minimum performance requirements for each analytical method. Initial demonstration of laboratory capabilities includes the ability to meet the project specified reporting limits or detection limits. The lab should show the ability to generate acceptable precision and recoveries, and other analytical and quality control parameters as stated in this QAPP. Analytical Methods used for chemistry analyses must follow a published method [reference method(s) specific to this project]. Documentation of laboratory procedures have been provided in Appendix [insert appendix where these can be found; typically Appendix B] as Standard Operating Procedure (SOP) for review and approval for each method. [If chemical analysis is being conducted and samples are not transferred to a lab (i.e. field measurements), please use this section to further discuss the chemical analysis. You may make a sub section for field measurements as applicable.]

[Make sure this section addresses ALL analytical testing for your project. Even when appending SOPs, a brief synopsis of the chemistry to be performed and the matrix it will be performed on is required in the main body of the QAPP.]

## Laboratory Standards and Reagents

All stock standards and reagents used for extraction and standard solutions will be tracked through the laboratory or the field sampling/measurement manager. Date of preparation, analyte or mixture, concentration, name of preparer, lot or cylinder number, and expiration date, if applicable, must be recorded on each working standard. [This information can typically be found in the Laboratory QA Manual or SOP. If that is the case, you may append the manual and reference where information can be found in the appendices. Labs can be contacted for this information if needed. If standards or reagents are not being used, please state that here and clarify this section is not applicable.]

## Sample Preparation Methods

[This section is for the discussion of specific analytical preparations as it relates to the methods being performed. This can typically be found in the lab SOP. You can append the QA manual or lab SOPs to this document and reference to where the information can be found. For multiple analyses with different preparation methods, complete Table 5 with rows for each analytical test and where in the SOP that information can be found.]

[Example text – modify as applicable for your project] Surface water samples will be prepared in solvent or via other extraction techniques prior to sample analyses as noted in Table 5. All procedures must follow a published method. Ground water samples will be prepared according to published methods as noted in Table 3b.

Table 5: Analytical Method Preparations and SOP Locations [Only keep methods applicable to your project/method, remove if not needed, and add information not currently represented in the table below.]

| Analytical Method Preparations | SOP Reference (Appendix B) |
| --- | --- |
| Chlorophyll pigment extraction | Section 3.4 of Laboratory Chlorophyll Method |
| TKN digestion | Section 3.2 of Laboratory TDN Method |

# QUALITY CONTROL REQUIREMENTS

The types of quality control assessments required for this project are discussed below. Detailed procedures for preparation and analysis of quality control samples are provided in the SOPs for the sample type. [Make sure the SOPs are included in the appendices and referenced here.]

## Measurement Performance Criteria

[Text should be adjusted to meet project specific requirements and be consistent with previous sections (specifically Section 1.3 and 2.1 QC Samples).]

The overall QA objective for this project is to develop and implement procedures for field sampling, COC, laboratory analysis, and reporting that will provide results that are scientifically defensible. Specific procedures for sampling, COC, laboratory instrument calibration, laboratory analysis, reporting of data, internal QC, audits, preventive maintenance of field equipment, and corrective action are described in the other sections of this QAPP.

### Precision

A measure of agreement among repeated measurements of the same property under identical, or substantially similar, conditions; expressed generally in terms of the standard deviation.

#### Field Precision

[Confirm based on actual fieldwork. Remove what does not apply (e.g., if you are only evaluating with RPD, remove references to RSD).]

Field precision is assessed through the collection and measurement of field duplicates at a rate of one duplicate per 10 analytical samples. These analyses measure both field and laboratory precision. The results, therefore, may have more variability than laboratory duplicates that measure only laboratory performance. See Table 3a for details on precision objectives in the field.

[Adjust text below as needed to match project specifics]

Precision will be assessed through the calculation of the relative percent difference (RPD) for two replicate samples and relative standard deviation (RSD) for three or more replicate samples. RPD is the absolute difference between two results expressed as a percentage of the average result. It is calculated according to the following formula:

RPD =	    S – D      x 100

(S + D) / 2

Where:	S = Original sample value

D = Duplicate sample value

The acceptance criteria for RPD will be less than or equal to 20%. Percent RSD is calculated according to the following formula:

%RSD = Standard Deviation   x 100

Mean

#### Laboratory Precision

[CONFIRM WITH LABORATORY]

The precision of laboratory analyses is assessed by comparing laboratory replicate analyses or by comparing MS with MSD as prescribed by the specified analytical method for each parameter. Laboratory duplicates are conducted at a frequency of 1 per 20 samples and MSDs are conducted at a frequency of 1 per batch of up to 10 samples. Laboratory precision is measured as the absolute value of the RPD for laboratory duplicate samples:

RPD = [(Result2 – Result1)/Mean]*100

See Table 3b for details on precision objectives in the laboratory.

### Accuracy

Accuracy is a measure of the overall agreement of a measurement to the known value. Accuracy includes a combination of random error (precision) and systematic error (bias) components that are due to sampling and analytical operations.

#### Field Accuracy

[Describe in this section how you are ensuring accuracy of the field collected data for your project (e.g., collection of blank samples; adherence to SOPs, sample preservation requirement, and holding times), consistent with what is presented in Section 1.3 and Table 3a. If using blank samples, specify whether they are equipment or field blanks and define the acceptance criteria. Attach and/or provide references to any SOPs that you will be adhering to.]

[If GPS or geospatial information is being collected for your project, discuss field accuracy here.]

#### Laboratory Accuracy

[Discuss this with your laboratory and obtain this information - may also be in the Lab SOP.]

Laboratory accuracy is assessed through the analysis of SMC, LCSs, MS/MSD, or Standard Reference Materials (SRM) and the determination of percent recoveries (%R). The data generated demonstrate acceptable compound recovery by the laboratory at the time of sample analysis. The %R is calculated according to the following formula:

%R = Spiked Sample Concentration – Unspiked Sample Concentration   x 100

Concentration of Spike Added

Laboratory accuracy is measured as the percent difference from true value of certified target for reference materials and /or method analyte spikes and surrogates where applicable. The laboratory accuracy data quality objectives can be found in Table 3b.

## Internal Quality Control

Internal QC is achieved by collecting and/or analyzing a series of duplicate, blank, spike, and spike duplicate samples to ensure that analytical results are within the specified QC objectives discussed in Section 1.3. The QC sample results are used to quantify precision and accuracy and identify any problem or limitation in the associated sample results. The internal QC components of a sampling and analyses program will ensure that data of known quality are produced and documented. The internal QC samples, frequency, acceptance criteria, and corrective action must meet the minimum requirements presented in Section 1.3 and in the following sections.

[Explain how QC is achieved internal to the project team during field work and during desktop tasks, post-fieldwork. Discuss timing and process for QA/QC review of information once it is input to a database or other online filing system. Who from the project team would do this and when, relative to other project activities?]

## Field Quality Control

[The subsections below are examples. Confirm text that is appropriate for your project and remove text that does not apply. Explain how QC will be ensured during fieldwork, referencing previous sections as applicable. Ensure that information provided in this section is consistent with other sections of the QAPP.]

Field QC samples are used to assess the influence of sampling procedures and equipment used in sampling. They are also used to characterize matrix heterogeneity. For basic water quality analyses, quality control samples to be prepared in the field will consist of [equipment/field] blanks, field duplicates, and matrix spikes (when applicable).

Equipment Blanks

Equipment blank samples will be collected and analyzed for all analytes of interest along with the associated environmental samples. Equipment blanks will be collected by routing lab grade water (certified contaminate free) through decontaminated sampling equipment using the same procedures as for environmental samples. The Equipment Blank samples will be analyzed to determine if field procedures have introduced contaminants into the samples. Equipment blank samples will be collected at a rate of 1 per 20 normal samples and should not contain analytes of interest above defined project reporting limits.

Field Blanks

Field blank samples will be collected and analyzed for all analytes of interest along with the associated environmental samples. Field blanks will be collected by routing lab grade water (certified contaminate free) into precleaned or new sample containers using the same procedures as for environmental samples. The field blank samples will be analyzed to determine if field procedures have introduced contaminants into the samples. Field blank samples will be collected at a rate of 1 per 20 normal samples and should not contain analytes of interest above defined reporting limits.

Field Duplicates

Field duplicates will be collected at the rate of 1 per 20 normal samples, or 1 per sampling event, whichever is greater. Field duplicates will be collected at the same time as environmental samples or of two grab samples collected in rapid succession and will be analyzed along with the associated environmental samples. If the relative percent difference (RPD) of field duplicate results is greater than 25% and the absolute difference is greater than the reporting limit (RL), both samples should be reanalyzed. [Reference to Table 3a (QAOs) as applicable and discuss acceptance criteria from the table.]

Matrix Spikes and Matrix Spike Duplicates

Matrix spikes and matrix spike duplicates will be analyzed at the rate of one pair per sample batch. Matrix spike samples are collected at the same time as the environmental samples and are spiked at the laboratory to provide information on matrix effects. The sample chosen for the MS/MSD will be collected in triplicate volume and noted on the COC next to that sample as ‘for MS/MSD.’ [Note the acceptance criteria for MS/MSD samples here or reference up to Table 3a and provide the information there.]

Method Blanks

Method blanks will be prepared and analyzed by the contract laboratory with each batch of samples. If any analyte is detected in the blank, the blank and the associated samples must be re-extracted and re-analyzed.

## Laboratory Quality Control

[Confirm based on actual project work. Remove text that does not apply. Explain how QC will be ensured at the laboratory for each analysis, referencing previous sections as applicable. Obtain this information from your lab, or lab SOP, and request they provide information in a table. The table should identify the key QC samples and criteria for each analysis. This includes calibration details and evaluation criteria. Discuss the Laboratory QC samples briefly and then reference to the table below.]

Laboratory Control Samples

Laboratory control sample/Laboratory control sample duplicates (LCS/LCSD) are samples prepared in the laboratory and contain analytes representative of the analytes of interest in the submitted samples. Known concentrations of analytes are added to DI water and processed in the same manner as the project samples. Results obtained from LCS/LCSD samples demonstrate that the laboratory is in control of the processes involved in the preparation and analysis of the method. Both accuracy (LCS %recovery) and precision/reproducibility (LCSD % RPD) are obtained. LCS/LCSD samples should meet the acceptance criteria outlined in the laboratory SOP [reference to SOP here] or analytical method. Table 6 identifies the frequency and acceptance criteria for LCS/LCSD samples. Overall, laboratory acceptance criteria are shown below.

[Request this information from the laboratory and complete Table 6. For multiple analyses or varying lab QC frequency and acceptance criteria – make an individual table for each analysis.]

Table 6: Analytical Quality Control [Only keep Lab QC pertinent to your project/method, remove if not needed, and add information not currently represented in the table below. Please add additional tables if multiple analyses are occurring as part of your project.]

| Laboratory QC | Frequency/Number | Acceptance Criteria |
| --- | --- | --- |
| Method Blank |  |  |
| Reagent Blank |  |  |
| Storage Blank |  |  |
| Instrument Blank |  |  |
| Lab. Duplicate |  |  |
| Lab. Matrix Spike |  |  |
| Matrix Spike Duplicate |  |  |
| Lab. Control sample |  |  |
| Surrogates |  |  |
| Internal Standards |  |  |
| Others: |  |  |

# INSTRUMENTATION AND EQUIPMENT PREVENTIVE MAINTENANCE

## Sample Equipment Cleaning Procedures

Equipment used for sample collection must be cleaned and maintained in accordance with proper field practices. [Explain what these field practices are and reference other sections of the QAPP (such as the Decontamination discussion in Section 2.1) and SOPs as appropriate.]

## Analytical Instrument and Equipment Testing Procedures and Corrective Actions

All instrument and equipment testing will be performed according to manufacturer recommendations and documented in the [Specify how the project team will document testing and where these records will be located. Explain what instruments and equipment will be used for this project, or reference section where this is already discussed in the QAPP. How often will equipment be tested and when? What will happen to equipment that fails testing procedures – what are the corrective actions (e.g. repair or replacement of equipment not in working order)? Laboratory instrument and equipment testing will be as prescribed under the laboratory QA manual or may be contained in the lab SOP – make sure to identify how instrumentation is maintained and any calibration or corrective action procedures in place for issues with that instrumentation.].

## Instrument Calibrations and Frequency

[Retain or Edit as Needed]

Analytical Procedures and Calibration

This section briefly describes analytical methods and calibration procedures for samples that will be collected under this project.

Analytical methods that will be used in this program will need to follow the general guidance of any of the following methods [Examples are below. Modify or remove as applicable to your project.]:

- U.S. EPA Determination of Nitrate-Nitrite Nitrogen by Automated Colorimetry (EPA method 353.2, Revision 2.0, 1993)

- Standard Methods for the Examination of Water and Wastewater (APHA, 24th ed., 2023)

For this program, only linear calibration with either an average response factor or a linear regression is acceptable for organic analyses. Non-linear calibration is not allowed since using this calibration option creates potential for poor quantitation or biased concentration of compounds at low or high concentrations (near the high and low ends of the calibration range).

Laboratories shall prepare an initial 5-point calibration curve, where the low-level standard concentrations are less than or equal to the analyte quantitation limits. [Verify the calibration curve requirements with the laboratory and state here with a reference to the appendix where this information is defined (e.g., the lab SOP or QA manual).]

# DATA MANAGEMENT

[Elaborate on this process as appropriate. Please review example text and edit if statements are not accurate to your project.]

Copies of field data sheets, a copy of COC forms, original preliminary and final lab reports, and interim/final data reports will be kept for review by the [Insert organization name]. The field crew will retain original field data sheets. The contract laboratory will retain COC forms. The contract laboratory will retain copies of the preliminary and final data reports.

Field data sheets are checked and signed in the field by the project [Insert “leader,” “manager,” etc.]. They will identify any results where holding times have been exceeded, sample identification information is incorrect, samples were inappropriately handled, or calibration information is missing or inadequate. Such data will be marked as unacceptable by [who will be responsible for qualifying data?] and will not be entered into the electronic database and/or otherwise used for project analysis, reporting, or other purpose. [Clarify timeframe for completing this check, post-fieldwork, and whether there would be a need to repeat fieldwork and/or re-train data collectors if results are unacceptable. If consensus is required by the project team for decision-making, explain the consensus process here. Describe how problems will be resolved, including chain-of-command, and documentation process. Include examples of types of corrective actions that might be implemented.]

Independent laboratories [update with lab name] will report their results to the project [“leader,” “manager,” etc.]. The project [“leader,” “manager,” etc.] will verify sample identification information, review the chain-of-custody forms, and identify the data appropriately in the database. [Make sure that this is an accurate process for your lab.]

Concentrations of chemicals and all numerical biological parameters will be calculated as described in the referenced method document for each analyte or parameter, or a laboratory operating procedure. The data generated will be [Identify how data will be stored and used (uploaded into a database, entry into a spreadsheet, etc.)] maintained by [who will be responsible for data entry and management?] and available for NFWF staff review when requested. This review is for QA/QC purposes only and will not be used for any other purpose. See Section 6.2 for additional information on this data reporting requirement.

After data entry or data transfer procedures are completed for each sample event, data will be inspected for data transcription errors [How long after data collection and by whom? How are errors determined (reference Section 1.3)? What happens to data found to have errors?] and corrected as appropriate. After the final QA checks for errors are completed, the data will be added to the project database. [Specify who would do this and the timeframe, post-data collection. Describe how data will be used for reporting as applicable.]

## Data Assessment Procedures

Data must be consistently assessed and documented to determine whether project QAOs discussed in Section 1.3 have been met, quantitatively assess data quality, and identify potential limitations on data use. Assessment and compliance with quality control procedures will be undertaken during the data collection phase of the project. [Reiterate, describe, or reference the QC procedures for this project as described in other sections of the QAPP.]

## Data to be Included in QA Summary Reports

During the project, NFWF may require periodic reporting, as noted below. Table 7 summarizes the types of data to be reported and the method in which that information will be delivered to NFWF staff.

[Remove lines not applicable to your project (e.g., remove the line for BMPs if you are not using). Please be sure this table matches the table in Appendix F.]

| Table 7: QA Summary Reporting Data |  |  |  |
| --- | --- | --- | --- |
| Data | Data Description | Reporting Method | Frequency |
| Best Management Practice (BMP) Data | Raw data from project reports in units of miles, linear feet, acres, individuals, etc. | Metrics uploaded to NFWF online system. | Annually and at NFWF Request during the closeout procedure |
| Monitoring Data | Raw data on project effectiveness, ambient water quality in priority watershed, stormwater flow, project conclusion data, etc. | Raw data, reports, and/or spreadsheets submitted through NFWF online system through the Final Programmatic Report. | At NFWF Request during the closeout procedure |
| Geospatial Data | Google polygon maps, latitude/longitude info, watershed segment | Uploaded via NFWF online system map page | At NFWF Request at application, during any Map Update Tasks, and during the closeout procedure |
| FieldDoc Project Summary and Data | Uploaded/Calculated data from www.fielddoc.com: - Project sites – geospatial point(s) or polygon(s) - Practices – buffer type, livestock exclusion, bioretention, etc. Metrics – acres protected by BMPs, gallons of stormwater infiltrated, nitrogen and phosphorus annual load reductions, etc. | Raw calculations and input via FieldDoc, PDF package submitted through NFWF online grants system or via email | Initially calculated at time of application, updated annually, and at NFWF request during closeout procedure |

At project completion, the field team will provide copies of the field data sheets (or relevant pages of field logs) and copies of the COC forms as a representative sample subset submittal of analysis as discussed in section 6.0. [Be sure to discuss data verification here or in the beginning of Section 6.] At a minimum, sample-specific information must be provided for each sampling type to NFWF staff according to the QA Summary Report template, included as Appendix F [Confirm this is the correct Appendix reference].

## Reporting Format

All results meeting data quality objectives and results having satisfactory explanations for deviations from objectives will be reported in the QA Summary Report. The final results will include the results of all field and laboratory quality control samples. Results will be reported to NFWF at project completion as noted in Section 6.2 above. Reports may be submitted electronically along with the final programmatic report.

# DATA VALIDATION AND USABILITY

[Discuss here how the project team will determine that data are fit for use and how data will be used for reporting, as applicable. Address how all data will be reviewed following the processes outlined in this QAPP and any changes, qualifiers, and notations recorded based on the decision rules/criteria appropriate for the data set, also outlined in the QAPP. For instance, data sets may have missing or unclear entries that can be filled in or modified based on other available records such as photographs or other documentation. Reference previous section(s) if applicable.]

## Laboratory Data Review, Verification, and Reporting

The laboratory quality assurance manual will be used to accept, reject or qualify the data generated by the laboratory. The [laboratory management] will be responsible for validating the data generated by the laboratory.

The [laboratory personnel] will verify that the measurement process was “in control” (i.e., all specified data quality objectives were met or acceptable deviations explained) for each batch of samples before proceeding with analysis of a subsequent batch. In addition, each laboratory will establish a system for detecting and reducing transcription and/or calculation errors prior to reporting data.

Only data which have met DQOs described in section 1.3, or data which have acceptable deviations clearly noted, will be submitted by the laboratory. When QA requirements have not been met, the samples will be reanalyzed when possible and only the results of the reanalysis will be submitted, provided they are acceptable.

[If you have lab reports being issued or are performing additional chemistry data validation then discuss here. Discuss if your lab will qualify or flag data so it is clear how this information is presented and how the data used will interpret results.]

## Self-Assessment, Data System Audits

(DO NOT EDIT - THIS SECTION MUST REMAIN AS IS)

Periodic self-assessments and/or data system audits are implemented based on the nature and scope of project-specific data collection activities. For data users, these technical audits and assessments provide project personnel with a tool to determine whether data collection activities are being or have been implemented as planned. They also provide the basis for taking action to correct any deficiencies that are discovered. For QAPP Categories 1-2, NFWF may request periodic self-assessments or a data system audit. For QAPP Categories 3-4, NFWF requires the implementation of one of these tools. The decision is made by the project manager and based on the frequency of project-specific data activities.

# REFERENCES

[EXAMPLE ONLY - Edit to meet your project and remove example references below not used for this project. Be sure all references listed in this section are cited in the main body text of the QAPP.]

Federal Emergency Management Agency (FEMA). 2014. Flood Insurance Rate Map (FIRM). Essex County, New Jersey. Panel 178 of 200, Map number 34013C0178G.

Kivat, E., and K. MacDonald. 2004. Biodiversity patterns and conservation in the Hackensack Meadowlands, New Jersey. Urban Habitats 2(1).

National Oceanic and Atmospheric Administration (NOAA), Northeast Fisheries Science Center (NEFSC). n.d. Newark City, NJ Community Profile. Available at:

https://www.nefsc.noaa.gov/read/socialsci/pdf/NJ/newark-city-nj.pdf. Accessed August 3, 2017.

New York State Office of Parks, Recreation and Historic Preservation. 2015. Final Master Plan/Final Environmental Impact Statement for Governor Alfred E. Smith/Sunken Meadow State Park. July 15.

# APPENDICES

[UPDATE AS NEEDED TO BE SPECIFIC TO YOUR PROJECT]

A)	Project Site Map(s)

- Standard Operating Procedures

- Laboratory Certification

- Chain of Custody Form

- Field Data Sheet

- QA Summary Report

[Attach all SOPs, methods, COC forms, and laboratory procedures mentioned in your QAPP. Contact your lab and have them provide a copy of the certifications they possess (e.g., U.S. EPA, State Department of Environmental Protection (DEP)/Department of Environmental Quality (DEQ), etc.).]

APPENDIX F – At Project Close Out

[Insert Project Name]

QA Summary Report - Components

This project resulted in [Insert deliverable description]. This work product received the required nature and scope of QAPP oversight appropriate for the intended use of the data.

The data sets, data products and other supporting QA documentation is/are maintained on file with the assigned research staff as noted in the QAPP until [Insert date].

All QAPP elements were met and completed according to the procedures and methods outlined therein.

NFWF QA Summary Reports will be submitted to NFWF annually and at project completion as requested. The QA Summary reports will include the following information, as appropriate –

- QA Summary Closeout reports include the extent to which projects are implemented according to the stated scope of work and the methodologies specified in this QAPP in their final programmatic reports.

- Significant changes to the objective, scope, or methodology of environmental data collection or use of environmental technology require the review and approval of the NFWF Program Manager and the NFWF QA reviewer. Therefore, if needed, appropriate revisions to this QAPP will be completed and submitted to the NFWF Program Manager for review and approval prior to implementation of changes.

- Additionally, periodic QA Summary Reports will be submitted to NFWF annually, if requested, according to the table, below.

The following table summarizes the types of data to be reported and the method in which that information will be delivered to NFWF staff.

| Data | Data Description | Reporting Method | Frequency |
| --- | --- | --- | --- |
| Best Management Practice (BMP) Data | Raw data from project reports in units of miles, linear feet, acres, individuals, etc. | Metrics uploaded to NFWF online system. | Annually and at NFWF Request during the closeout procedure |
| Monitoring Data | Raw data on project effectiveness, ambient water quality in priority watershed, stormwater flow, project conclusion data, etc. | Raw data, reports, and/or spreadsheets submitted through NFWF online system through the Final Programmatic Report. | At NFWF Request during the closeout procedure |
| Geospatial Data | Google polygon maps, latitude/longitude info, watershed segment | Uploaded via NFWF online system map page | At NFWF Request at application, during any Map Update Tasks, and during the closeout procedure |
| FieldDoc Project Summary and Data | Uploaded/Calculated data from www.fielddoc.com: - Project sites – geospatial point(s) or polygon(s) - Practices – buffer type, livestock exclusion, bioretention, etc. Metrics – acres protected by BMPs, gallons of stormwater infiltrated, nitrogen and phosphorus annual load reductions, etc. | Raw calculations and input via FieldDoc, PDF package submitted through NFWF online grants system or via email | Initially calculated at time of application, updated annually, and at NFWF request during closeout procedure |

[REVISE THIS TABLE TO MATCH TABLE 7 IN SECTION 6.2]

RPD – Relative Percent Difference

Nitrate precision is 10% RPD for field and lab duplicates.

Nitrate accuracy is 90-110% recovery for matrix spike and laboratory control samples.