[Insert Project Name, NFWF ID No., Grant Type. Complete Information in Document Header]

QUALITY ASSURANCE PROJECT PLAN

COMPLETED PLAN PREPARED BY:

[Insert name here]

[Date]

Refer correspondence to:

[Name, organization, address, telephone, and email]

(Note to All Grantees: Instructions in this QAPP Template are given in bold, highlighted type. Make sure to complete or revise all sections and remove any underlining.  Also, ERASE the instructions, including this one, as you complete the QAPP for your specific project.  Make sure to define acronyms/ abbreviations when they initially appear in the text (i.e. mg/L, NTU, etc.).  Make changes in other places as necessary. If a section is not applicable to your project, delete the template text and replace with “N/A”.)

Please read the entirety of this document.  Do not fill in information without reading the whole document.  It is necessary to fully understand the contents of this Quality Assurance Project Plan (QAPP) in order to complete the required components successfully.   Every QAPP will be unique and responsive to the proposal approved by NFWF.

qapp Approvals PAGE

Approval Signatures (required prior to project start):

____________________________________   Date:  ___________________

[Insert Name]

Project Lead, [Insert Organization]

[Insert Title]

____________________________________   Date:  ___________________

[Insert Name]

[Insert Role and Organization. Delete if not applicable. Copy and add additional signatories as appropriate, but delete extra spacing so that they fit on this single page.  This expedites the signatory process]

[Insert Title]

____________________________________   Date:  ____________________

Stephanie Heidbreder

Manager, Chesapeake Programs
National Fish & Wildlife Foundation
1133 15th Street NW, Suite 1100 | Washington, DC 20005 
Tel: (202) 595-2498 | Fax: (202) 857-0162

Website: www.nfwf.org/chesapeake

(WHEN DOCUMENT IS COMPLETE _ RIGHT CLICK ON Table of Contents and ‘UPDATE FIELD” then “UPDATE ENTIRE TABLE”)

1	PROJECT MANAGEMENT	5

1.1	Contact Information	5

1.2	Project Objectives and Approach	5

1.3	Data Quality Objectives	6

1.4	Documentation and Records	8

2	DATA ACQUISITION/Survey Input	8

2.1	Sampling Information	8

2.2	Sample Storage, Preservation and Holding Times	8

2.3	Sample Custody and Documentation	10

3	ANALYTICAL REQUIREMENTS	10

3.1	Chemistry Analyses	10

3.2	Sample Preparation Methods	11

4	QUALITY CONTROL REQUIREMENTS	11

4.1	Quality Assurance Objective (QAO) Criteria	11

4.2	Measurement Performance Criteria	11

4.3	Internal Quality Control	12

4.4	Field Quality Control	12

5	INSTRUMENTATION AND EQUIPMENT PREVENTIVE MAINTENANCE	13

5.1	Sample Equipment Cleaning Procedures	13

5.2	Analytical Instrument and Equipment Testing Procedures and Corrective Actions	13

5.3	Instrument Calibrations and Frequency	13

6	DATA MANAGEMENT	14

6.1	Data Assessment Procedures	14

6.2	Data to be Included in QA Summary Reports	14

6.3	Reporting Format	15

7	DATA VALIDATION AND USABILITY	15

7.1	Self-Assessment, Data System Audits	15

8	REFERENCES	16

Appendices		17

[Verify numbering here and against text at completion of QAPP]

# 1	PROJECT MANAGEMENT

## 1.1	Contact Information

[Please provide the name and phone number of project personnel as applicable]

All personnel listed below will receive copies of this Quality Assurance Project Plan (QAPP), and any approved revisions of this plan.  Once approved, this QAPP will be available to any interested party by requesting a copy from the project management.

| Title | Name (Affiliation) | Phone Number/E-mail |
| --- | --- | --- |
| Project Manager |  |  |
| Primary Field Sampler |  |  |
| Environmental Scientist |  |  |
| National Fish and Wildlife Foundation (NFWF) Program Manager | Stephanie Heidbreder, NFWF | (202) 595-2498 stephanie.heidbreder@nfwf.org |
| QA Specialist |  |  |

## Project Objectives and Approach

[Insert your condensed proposal narrative here, modify according to your project specific objective. What is the goal for your project and what methods/surveys/data collection activities will be implemented to achieve this outcome? What is the geographic scope? What is the target audience for survey and why?]

The objective of this document is to identify the quality assurance components that are necessary to implement the project activities under the [Insert project name].  This objective will be achieved by using accepted methodology (e.g., U.S. Environmental Protection Agency (US EPA) [Specify methodology, survey type, or any other data collection activities associated with the project]) to collect and/or measure, analyze and/or interpret [Insert measurement type. i.e.: water and biota] samples.

Required monitoring or measurements will begin [Insert dates, data or measurements that will be taken, start/stop dates for this activity, etc.]  Table 1 lists the constituents that are required to be monitored.

[EXAMPLE ONLY – EDIT AS APPLICABLE TO YOUR PROJECT

Include tables and discussion for both primary and secondary/existing data to be collected]

Table 1 Constituents to be monitored

| Constituent | Unit |
| --- | --- |
| Vegetation | % cover |
| Flow | CFS (Ft3/Sec) |
| pH | pH units |
| Temperature | 0F |
| Dissolved Oxygen | mg/L |
| Turbidity | NTU |
| Total Dissolved Solids | mg/L |
| Total Suspended Solids | mg/L |
| Phytoplankton | #individuals/ mL |

## 1.3	Data Quality Objectives

[Data quality objectives define data collection design, including 1) when and where to collect samples, 2) the acceptable level of data uncertainty and decision errors for the study; and 3) how many samples to collect. Describe criteria for data quality and for developing data collection designs.  Discuss how this project will ensure that the type, quantity, and quality of environmental data used in decision-making will be appropriate for the intended application]

The data quality objectives are listed in Table 2.

[Please complete the measurement metrics for field sampling in Table 2 as applicable to your project. Include tables and/or discussion for both primary and secondary/existing data to be collected]

[EXAMPLE ONLY – EDIT OR DELETE AS APPLICABLE TO YOUR PROJECT]

Table 2 Quality Assurance Objectives for Individual Measurements

(DETECTION LIMITS AND REPORTING LIMITS SHOULD BE ADDED TO THE QAPP AS APPLICABLE – IF EXTENSIVE AND MAKES MORE SENSE THEY MAY BE ADDED AS AN APPENDIX AND REFERENCED TO HERE)

| Parameter | Method | Detection Limit | Sensitivity | Precision | Accuracy | Completeness |
| --- | --- | --- | --- | --- | --- | --- |
| Flow |  |  |  |  |  | 80% |
| Temperature | e.g. Thermometer (-5 to 50) |  |  |  |  | 80% |
| Dissolved Oxygen |  |  |  |  |  | 80% |
| pH |  |  |  |  |  | 80% |
| Turbidity |  |  |  |  |  | 80% |
| Total Dissolved Solids |  |  |  |  |  | 80% |
| Total Suspended Solids |  |  |  |  |  | 80% |

## 1.4	Documentation and Records

[Include description of Staff Training documentation and records as applicable]

All records generated by this project will be stored at [Insert name here] main office.  Copies of this QAPP will be distributed to all parties involved with the project, including signatories and field sampling personnel.  Any future changes or amendments to the QAPP will be held and distributed in the same fashion.  Copies of previous versions of the QAPP will be clearly marked as “superseded by Revision #” so as not to create confusion.

The records of all project information and data used to complete the activities of the project will be retained for at least seven years from the date of sampling, measurement, report, or application.

# 2	DATA ACQUISITION/Survey Input

[Edit as applicable to your project. Describe data collection staff and staff training if not described in Section 1]

## 2.1	Sampling Information

Information on sample locations can be found in Appendix A.  Methods for sample collection in the field will be done according to standard procedures [expand on these as applicable].  Proper sampling techniques will be used to ensure that a representative sample is collected.

## Sample Storage, Preservation and Holding Times

Sample containers will be pre-cleaned and certified to be free of contamination according to the U.S. EPA specification for the appropriate methods.

Sampling devices and sample bottles (that are not pre-sterilized and do not contain preservatives/fixing agents) will be rinsed three times with sample water prior to collecting each sample.   For sterile bottles, whirl-paks, and sample bottles which do contain preservatives/fixing agents (e.g., acids, etc.) never rinse with sample water prior to collecting the sample.  Also, never use a sample bottle containing preservatives/fixing agents for sampling; in these cases always use a sampling device to collect the sample prior to transferring the sample into the bottle.

The following table describes sample holding container, sample preservation method and maximum holding time for each parameter.

[EXAMPLE ONLY – EDIT AS NEEDED]

Table 3 Sampling Method Requirements

| Parameter | Sample Bottle | Typical Sample Volume | Preferred / Maximum Holding Times |
| --- | --- | --- | --- |
| Temperature | Plastic Bottle | 150 mL | Immediately |
| pH | Plastic Bottle or sample directly | 150 mL | Immediately |
| Turbidity | Plastic Bottle | 150 mL | Immediately / store in dark for up to 24 hr. |
| Total Dissolved Solids | Plastic Bottle | 1000 mL | 7 days at 4°C, dark |
| Total Suspended Solids | Plastic Bottle | 1000 mL (two jars) | 7 days at 4°C, dark |

SAMPLE IDENTIFICATION

All samples will be identified with a unique number and samples labeled with the following information.

- Sample ID

- Location ID

- Date

- Time

- Initials of sample collector

- Sample type (normal or QC)

[EXAMPLES ONLY – EDIT AS NEEDED]

Field Measurements

If possible (if equipment is available), water quality parameters including [Insert project-specific information, such as flow rate, pH, and temperature] will be measured prior to collecting samples for analyses out of the field.

QC SAMPLE COLLECTION

Equipment blanks and field duplicates will be collected at a frequency of about 1 per 20 normal samples, or 1 per sampling event, whichever is greater.

FIELD INSTRUMENT CALIBRATION

Routine field instrument calibration will be performed at least once per day prior to instrument use to ensure instruments are operating properly and producing accurate and reliable data. Calibration will be performed at a frequency recommended by the manufacturer.

DECONTAMINATION PROCEDURES

All field and sampling equipment that will contact samples will be decontaminated after each use in a designated area.

FIELD DOCUMENTATION

All field activities will be adequately and consistently documented to ensure defensibility of any data used for decision-making and to support data interpretation.  In particular if during dry season sampling if there is no irrigation run off available for sampling this needs to be documented and supported in the annual monitoring report.

Pertinent field information, including (as applicable), the [Insert field project-specific sampling/measurement parameters, such as width, depth, flow rate of the stream, the surface water condition, crop and cultivation practices and evidence of pesticide/fertilizer or sediment management, and location of the tributaries] will be recorded on the field sheets.

## Sample Custody and Documentation

Sample Custody will be traceable from the time of sample collection until results are reported.

DOCUMENTATION PROCEDURES

The primary field sampler will be responsible for ensuring that the field sampling team adheres to proper custody and documentation procedures. A master sample logbook or field datasheets will be maintained for all samples collected during each sampling event.

CHAIN-OF-CUSTODY FORM

When samples are transferred from one sampler to another member of the same organization, then a Chain of Custody (COC) form should be used.  This form identifies the site name, sample location, sample number, matrix, date and time of collection, sampler’s name, sampling equipment and sample type (i.e., normal field or QC sample), and method used to preserve sample (if any).  It also indicates the date and time of transfer, and the name and signature of the sampler and the sample recipient.

[Please attach the field data sheets and chain of custody form to the end of this document, if appropriate.]

# 3	ANALYTICAL REQUIREMENTS

[Edit, Retain, or Delete as Needed]

[THIS SECTION SHOULD DISCUSS THE TESTING THAT WILL OCCUR AND EITHER ADD IN A SUMMARY DESCRIPTION OF THOSE PROCEDURES OR REFERENCE TO APPENDED SOPS]

## 3.1	Chemistry Analyses

Analytical Methods used for chemistry analyses must follow a published method (US EPA or Standard Method for the Examination of Water and Wastewater) and document the procedure for sample analyses in a Standard Operating Procedure (SOP) for review and approval.  This applies to project and field personnel conducting field sampling/measurements/analysis of media not analyzed by a laboratory.  Training records for field staff should be maintained under the documentation requirements noted in Section 1.4 of this QAPP.

## 3.2	Sample Preparation Methods

Surface water samples will be prepared in solvent or via other extraction techniques prior to sample analyses as noted in Table 3. All procedures must follow a published method.  Ground water samples will be prepared according to published methods as noted in Table 3.

# 4	QUALITY CONTROL REQUIREMENTS

[Retain, Edit, or Delete as Needed]

The types of quality control assessments required for this project are discussed below. Detailed procedures for preparation and analysis of quality control samples are provided in the SOPs for the sample type.

## 4.1	Quality Assurance Objective (QAO) Criteria

The QAOs define a tolerable level of potential decision error for data collected on a project.  They help to define the data quality objectives and clarify the project objectives further.  The QAOs are then used as comparison criteria during data quality review by the group that is responsible for collecting data to determine if the minimum requirements have been met and the data may be used as planned.

## 4.2	Measurement Performance Criteria

(Text should be adjusted to meet project specific requirements – adjust as needed – yellow highlighted areas may require adjustment)

The overall QA objective for this project is to develop and implement procedures for field sampling, COC, and reporting that will provide results that are scientifically defensible.  Specific procedures for sampling, COC, reporting of data, internal QC, audits, preventive maintenance of field equipment, and corrective action are described in the other sections of this QAPP

### 4.2.1	Field Precision

(CONFIRM BASED ON WHAT YOU WILL BE DOING IN FIELD REMOVE WHAT DOES NOT APPLY)

Field precision is assessed through the collection and measurement of field duplicates at a rate of one duplicate per 10 analytical samples.  These analyses measure both field and laboratory precision.  The results, therefore, may have more variability than laboratory duplicates that measure only laboratory performance.  (adjust below test as needed to match project specifics)

Precision will be assessed through the calculation of the relative percent difference (RPD) for two replicate samples and relative standard deviation (RSD) for three or more replicate samples.  RPD is the absolute difference between two results expressed as a percentage of the average result.  It is calculated according to the following formula:

RPD =        S – D    X 100

(S + D) / 2

Where:	 S = Original sample value;

D = Duplicate sample value.

The acceptance criteria for RPD will be less than or equal to 20%.  Percent RSD is calculated according to the following formula:

%RSD = Standard Deviation X 100

Mean

### 4.2.2 Field Accuracy

(CONFIRM BASED ON WHAT YOU WILL BE DOING IN FIELD REMOVE WHAT DOES NOT APPLY)

Accuracy of the field sample collection procedures ensures that samples are not affected by sources external to the sample, such as sample contamination by ambient conditions.  Field sampling accuracy will be assessed by the data from equipment and trip blank samples.

Trip blank samples will provide a measure of potential cross-contamination of samples by VOCs during shipment and handling.

Trip blank samples should not contain target analytes.  Accuracy also will be ensured by adhering to all sample handling procedures, sample preservation requirements and holding time periods.

## 4.3	Internal Quality Control

Internal QC is achieved by collecting and/or analyzing a series of duplicate, blank, spike, and spike duplicate samples to ensure that analytical results are within the specified QC objectives. The QC sample results are used to quantify precision and accuracy and identify any problem or limitation in the associated sample results. The internal QC components of a sampling and analyses program will ensure that the data of known quality are produced and documented. The internal QC samples, frequency, acceptance criteria, and corrective action must meet the minimum requirements presented in the following sections.

## 4.4	Field Quality Control

(CONFIRM WHAT IS APPROPRIATE FOR YOUR PROJECT, REMOVE WHAT IS NOT)

Field QC samples are used to assess the influence of sampling procedures and equipment used in sampling. They are also used to characterize matrix heterogeneity.  For basic water quality analyses, quality control samples to be prepared in the field will consist of equipment blanks, field duplicates, and matrix spikes (when applicable).

Equipment Blanks

Equipment blanks will be collected and analyzed for all analytes of interest along with the associated environmental samples. Equipment blanks will consist of laboratory-prepared blank water (certified contaminate free) processed through the sampling equipment using the same procedures used for environmental samples.

Field Duplicates

Field duplicates will be collected at the rate of 1 per 20 normal samples, or 1 per sampling event, whichever is greater.  Field duplicates will be collected at the same time as environmental samples or of two grab samples collected in rapid succession, and will be analyzed along with the associated environmental samples. If the relative percent difference (RPD) of field duplicate results in greater than 25% and the absolute difference is greater than the reporting limit (RL), both samples should be reanalyzed.

# 5	INSTRUMENTATION AND EQUIPMENT PREVENTIVE MAINTENANCE

## 5.1	Sample Equipment Cleaning Procedures

Equipment used for sample collection must be cleaned and maintained in accordance with proper field practices.

## 5.2	Analytical Instrument and Equipment Testing Procedures and Corrective Actions

All instrument and equipment testing will be performed according to manufacturer recommendations and documented in the associated equipment calibration logbook.

## 5.3	Instrument Calibrations and Frequency

[Retain, Edit or Delete as Needed]

Analytical Procedures and Calibration

This section briefly describes analytical methods and calibration procedures for samples that will be collected under this project.

Analytical methods that will be used in this program will need to follow the general guidance of any of the following methods:

- Methods for Organic Chemical Analysis of Municipal and Industrial Wastewater (EPA-600/4-85 054)

- U.S. EPA Methods for Chemical Analysis of Water and Wastes (EPA-600/4-79-020, third edition, 1983)

- Methods for Determination of Organic Compounds in Drinking Water (EPA-600/4-88/039)

- Standard Methods for the Examination of Water and Wastewater (APHA 1998)

- USEPA. 2002. Methods for Measuring the Acute Toxicity of Effluents and Receiving Waters to Freshwater and Marine Organisms, Fifth Edition. Office of Water, Washington, D.C. EPA-821-R-02-012

- USEPA. 2002. Short-term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Waters to Freshwater Organisms, Fourth Edition. Office of Water, Washington, D.C. EPA-821-R-02-013.

- USEPA. 1994. Methods for Measuring the Toxicity and Bioaccumulation of Sediment-associated Contaminants with Freshwater Invertebrates. Office of Research and Development, Washington, D.C. EPA-600-R-94-024.

For this program, only linear calibration with either an average response factor or a linear regression is acceptable for organic analyses. Non-linear calibration is not allowed since using this calibration option creates a potential for poor quantitation or biased concentration of compounds at low or high concentrations (near the high and low ends of the calibration range).

# 6	DATA MANAGEMENT

[Elaborate on this process as appropriate]

Copies of field logs, a copy of COC forms, original preliminary and final reports, and electronic media reports will be kept for review by the [Insert organization name]. The field crew will retain original field logs.

Field data sheets are checked and signed in the field by the project [Insert “leader”, “manager”, etc.].  They will identify any results where holding times have been exceeded, sample identification information is incorrect, samples were inappropriately handled, or calibration information is missing or inadequate.  Such data will be marked as unacceptable by and will not be entered into the electronic data base and/or otherwise used for project analysis, reporting or other purpose.

Concentrations of chemicals and toxicity endpoints, and all numerical biological parameters will be calculated as described in the referenced method document for each analyte or parameter. The data generated will be converted to a standard database format maintained by the responsible party and available for NFWF staff review when requested.   This review is for QA/QC purposes only and will not be used for any other purpose.  All project information will remain confidential.  See Section 6.2 for additional information on this data reporting requirement.

After data entry or data transfer procedures are completed for each sample event, data will be inspected for data transcription errors, and corrected as appropriate. After the final QA checks for errors are completed, the data will be added to the final database.

## 6.1	Data Assessment Procedures

Data must be consistently assessed and documented to determine whether project QAOs have been met, quantitatively assess data quality and identify potential limitations on data use.  Assessment and compliance with quality control procedures will be undertaken during the data collection phase of the project.

## 6.2	Data to be Included in QA Summary Reports

During the project, NFWF may require periodic reporting, as noted below.

The following table summarizes the types of data to be reported and the method in which that information will be delivered to NFWF staff.

| Data | Data Description | Reporting Method | Frequency |
| --- | --- | --- | --- |
| Best Management Practice (BMP) Data | Raw data from project reports in units of miles, linear feet, acres, individuals, etc. | Metrics uploaded to NFWF online system. | Annually and at NFWF Request during the closeout procedure |
| Monitoring Data | Raw data on project effectiveness, ambient water quality in priority watershed, stormwater flow, project conclusion data, etc. | Raw data, reports, and/or spreadsheets submitted through NFWF online system through the Final Programmatic Report. | At NFWF Request during the closeout procedure |
| Geospatial Data | Google polygon maps, latitude/longitude info, watershed segment | Uploaded via NFWF online system map page | At NFWF Request at application, during any Map Update Tasks, and during the closeout procedure |
| FieldDoc Project Summary and Data | Uploaded/Calculated data from www.fielddoc.com: Project sites – geospatial point(s) or polygon(s) Practices – buffer type, livestock exclusion, bioretention, etc. Metrics – acres protected by BMPs, gallons of stormwater infiltrated, nitrogen and phosphorus annual load reductions, etc. | Raw calculations and input via FieldDoc, PDF package submitted through NFWF online grants system or via email | Initially calculated at time of application, updated annually, and at NFWF request during closeout procedure |

At project completion, the field team will provide copies of the field data sheets (relevant pages of field logs) and copies of the COC forms as a representative sample subset submittal of analysis. At a minimum, sample-specific information must be provided for each sampling type to NFWF staff according to the QA Summary Report template, included as Attachment D.

## 6.3	Reporting Format

All results meeting data quality objectives and results having satisfactory explanations for deviations from objectives will be reported in the QA Summary Report. The final results will include the results of all field quality control samples.  Results will be reported to NFWF at project completion as noted in Section 6.2 above.  Reports may be submitted electronically along with the final programmatic report.

# 7	DATA VALIDATION AND USABILITY

## 7.1	Self-Assessment, Data System Audits

(DO NOT EDIT - THIS SECTION MUST REMAIN AS IS)

Periodic self-assessments and/or data system audits are implemented based on the nature and scope of project-specific data collection activities.  For data users, these technical audits and assessments provide project personnel with a tool to determine whether data collection activities are being or have been implemented as planned.  They also provide the basis for taking action to correct any deficiencies that are discovered.  For QAPP Categories 1-2, NFWF may request periodic self-assessments or a data system audit.  For QAPP Categories 3-4, NFWF requires the implementation of one of these tools.  The decision is made by the project manager and based on the frequency of project-specific data activities.

# 8	REFERENCES

[EXAMPLE ONLY]  [Edit as applicable to your project]

U.S. EPA 2001. Laboratory Documentation Requirements for Data Evaluation (R9QA/004.1)

U.S. EPA 1983. Methods for Chemical Analysis of Water and Wastes. EPA-600/4-79-020, third edition

U.S. EPA 1988. Methods for Determination of Organic Compounds in Drinking Water (EPA-600/4-88/039)

USEPA.2002. Methods for Measuring the Acute Toxicity of Effluents and Receiving Waters to Freshwater and Marine Organisms, Fifth Edition. Office of Water, Washington, D.C.

EPA-821-R-02-012

USEPA. 2002. Short-term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Waters to Freshwater Organisms, Fourth Edition. Office of Water, Washington, D.C.

EPA-821-R-02-01

USEPA. 1994. Methods for Measuring the Toxicity and Bioaccumulation of Sediment-associated Contaminants with Freshwater Invertebrates. Office of Research and Development, Washington, D.C. EPA-600-R94-024.

EPA/600/R-99/080 2000. Guidance on Technical Audits and Related Assessments for Environmental Data Operations

# Appendices

A)	Project Site Map(s)

- Standard Operating Procedures

- Field Data Sheet

- QA Summary Report

[Attach all SOPs and methods mentioned in your QAPP]

APPENDIX D – At Project Close Out

[Insert Project Name]

QA Summary Report - Components

This project resulted in [Insert deliverable description].  This work product received the required nature and scope of QAPP oversight appropriate for the intended use of the data.

The data sets, data products and other supporting QA documentation is/are maintained on file with the assigned research staff as noted in the QAPP until [Insert date].

All QAPP elements were met and completed according to the procedures and methods outlined therein.

NFWF QA Summary Reports will be submitted to NFWF annually and at project completion as requested. The QA Summary reports will include the following information, as appropriate –

- QA Summary Closeout reports include the extent to which projects are implemented according to the stated scope of work and the methodologies specified in this QAPP in their final programmatic reports.

- Significant changes to the objective, scope, or methodology of environmental data collection or use of environmental technology require the review and approval of the NFWF Program Manager and the NFWF QA reviewer.  Therefore, if needed, appropriate revisions to this QAPP will be completed and submitted to the NFWF Program Manager for review and approval prior to implementation of changes.

- Additionally, periodic QA Summary Reports will be submitted to NFWF annually, if requested, according to the table, below.

The following table summarizes the types of data to be reported and the method in which that information will be delivered to NFWF staff.

| Data | Data Description | Reporting Method | Frequency |
| --- | --- | --- | --- |
| Best Management Practice (BMP) Data | Raw data from project reports in units of miles, linear feet, acres, individuals, etc. | Metrics uploaded to NFWF online system. | Annually and at NFWF Request during the closeout procedure |
| Monitoring Data | Raw data on project effectiveness, ambient water quality in priority watershed, stormwater flow, project conclusion data, etc. | Raw data, reports, and/or spreadsheets submitted through NFWF online system through the Final Programmatic Report. | At NFWF Request during the closeout procedure |
| Geospatial Data | Google polygon maps, latitude/longitude info, watershed segment | Uploaded via NFWF online system map page | At NFWF Request at application, during any Map Update Tasks, and during the closeout procedure |
| FieldDoc Project Summary and Data | Uploaded/Calculated data from www.fielddoc.com: Project sites – geospatial point(s) or polygon(s) Practices – buffer type, livestock exclusion, bioretention, etc. Metrics – acres protected by BMPs, gallons of stormwater infiltrated, nitrogen and phosphorus annual load reductions, etc. | Raw calculations and input via FieldDoc, PDF package submitted through NFWF online grants system or via email | Initially calculated at time of application, updated annually, and at NFWF request during closeout procedure |

[Insert Project Name] Site Sampling Map

[Insert geospatial map showing sampling locations by GPS location, Site Name and any other identifier.]

| [Insert Project Name] |  | Field/Sample Log |
| --- | --- | --- |
| Operation Name: |  |  | Sampling Event: | DRY WET (circle one) |
| Date: |  | Sampling Personnel (print and sign): |  |  |
| Weather Conditions: |  | Organization: |  |  |  |
| Sample Number | Sample Collected (mark) | Sample Type | Time | Sampling Device | Sample Container |
|  | Field Measurements | Lab Sample | (Normal/QC) | (hhmm) | (grab/other) | (glass/plastic) |
| If this is a dry weather sampling event and there was no irrigation discharges available for sampling please provide the information below as documentation. Please note that dry weather sampling is required to be conducted on the same day as irrigation near the end of the irrigation cycle. |  |  |
| Date of Irrigation |  |  |  |  |
| Time of Irrigation |  |  |  |  |
| Length of irrigation cycle |  |  |  |  |
| Time of Sample Investigation |  |  |  |  |

| [Insert Project Name] | Field Data Sheet |
| --- | --- |
| Operation Name: |  | Address: |  |  |  |  |
| Date: |  | Weather Conditions: | Crop Type: |  |  |
| Type of Irrigation: |  | Stream Width: |  | Stream Depth: |  |  |
| Pesticide Application Time/Type: |  |  |  |  |  |
| Fertilizer Application Time/Type |  |  |  |  |  |
| Location of Tributaries: |  |  |  | Sampling Event: | DRY / WET | (Circle one) |
| Sample Number | Location | Flow Rate | Temperature | pH | Dissolved Oxygen | Turbidity |
|  |  | cfs | oF |  | mg/L | NTU |
| Sampling Personnel: |  |  |  |  |  |  |
|  |  | (Print) | (Sign) |  |  |  |
| Organization: |  |  |  |  |  |  |